Practical Tests of Biochemistry Unit 1

1**. Beer’s law states that the absorbance of solution is directly proportional to…..**

1. Concentration of substance
2. Length of path
3. Optical density
4. All

**2. Colorimeter can record color solution of**

1. Visual wavelength
2. UV Ray wavelength
3. Infrared ray wavelength
4. All

3. **The lamp used in spectrophotometer is**

1. Tungsten lamp
2. Deuterium lamp
3. Light bulb
4. None

**4. Colorimeter can not analyze……………**

1. Colorless solutions
2. UV absorbance
3. Infrared absorbance
4. All

**5. Cuvette used in spectrophotometer is……………**

1. Glass cuvette
2. Plastic cuvette
3. Quartz cuvette
4. Diamond cuvette
5. **A spectrophotometer differs from a colorimeter by:**
a) Measuring only in the visible spectrum
b) Measuring across a wider range of wavelengths, including UV and infrared
c) Not requiring a monochromator
d) Not measuring transmittance
6. **What is the recommended temperature range for a water bath used in enzyme assays?**
a) 0-20°C
b) 20-37°C
c) 37-60°C
d) 60-100°C
7. **Which of the following is NOT a component of a typical spectrophotometer?**
a) Light source
b) Detector
c) Thermometer
d) Sample compartment
8. **What is the standard wavelength used for measuring glucose concentration in blood using a colorimeter?**
a) 340 nm
b) 520 nm
c) 600 nm
d) 700 nm
9. **The heating mechanism in a water bath ensures:**
a) Equal temperature distribution
b) Rapid boiling of the sample
c) UV sterilization of samples
d) Electrical isolation of samples
10. **Stray light in a spectrophotometer affects which measurement parameter?**
a) Absorbance
b) Concentration
c) Path length
d) Wavelength
11. **What is the principle of operation for a water bath in biochemistry experiments?**
a) Conductive heating
b) Convective heating
c) Radiative heating
d) Mechanical heating
12. **The blank solution in a colorimetric analysis is used to:**
a) Calibrate the wavelength of light
b) Correct for background absorbance
c) Increase sample concentration
d) Adjust the path length
13. **Which wavelength is most appropriate for measuring NADH in a spectrophotometer?**
a) 280 nm
b) 340 nm
c) 450 nm
d) 600 nm
14. **The path length of a cuvette typically used in spectrophotometry is:**
a) 0.5 cm
b) 1 cm
c) 2 cm
d) 5 cm
15. **Which type of light source is commonly used in UV spectrophotometers?**
a) Tungsten lamp
b) Halogen lamp
c) Xenon lamp
d) Deuterium lamp
16. **How is the wavelength accuracy of a spectrophotometer verified?**
a) Using a standard solution of known absorbance
b) Measuring the boiling point of water
c) Using filters or standard lamps with specific emission lines
d) Measuring room temperature
17. **The purpose of using filters in a colorimeter is to:**
a) Focus the light beam
b) Improve the resolution of measurements
c) Isolate specific wavelengths
d) Reduce noise in the circuit
18. **What is the usual range of temperatures for a biochemical water bath used in clinical labs?**
a) 20-80°C
b) 30-50°C
c) 10-90°C
d) 5-60°C
19. **Beer's law is valid only when:**
a) The light source is monochromatic
b) Concentration is above saturation point
c) Solution is highly concentrated
d) Solvent absorbs light

**Answers**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **1.d** | **2.a** | **3.b** | **4.d** | **5.c** | **6.b** | **7.c** | **8.c** | **9.b** |
| **10.a** | **11.a** | **12.b** | **13.b** | **14.b** | **15.b** | **16.d** | **17.c** | **18.c** |
| **19.a** | **20.a** |